## Slide 1
Xing Wu1,2, Daniel Ang1, Cole Meisenhelder1, James Chow2, David DeMille2, John Doyle1, Gerald Gabrielse3, Nicholas Hutzler4 , Zhen Han2, Cristian Panda1
Upgrading the ACME Electron Electric Dipole
Moment (e-EDM) Search with a Molecular Lens
ACME Collaboration:
Affiliation: 1Harvard University, 2Yale University, 3Northwestern University, 4California Institute of Technology
DC Stark shift of Q state
DQ=4.1D from measurement
1.8 K trap-depth
at 35.4kV/cm
Increase useful molecule flux with beam focusing
Molecules exiting the beam source have high divergence – solid angle subtended by EDM measurement region ~0.05% in ACME II, and worse for longer interaction region
Lensing-state of ThO: X-C-Q STIRAP to a single M=2 or -2 level in Q (J=2) state
Electric hexapole lens
Electrode voltage 22.5 kV, .75” radius: ≈1.8K trap-depth
Control and minimize possible X-ray production
Expect factor of ~15 increase in signal (molecular flux)
Simulation of molecule focusing with electrostatic lens. Red is lens, black is collimator
Increase quantum efficiency
Silicon photomultipliers (SiPMs) for more efficient fluorescence detection
PMTS ~25% efficient. SiPMs ~ 50%, giving factor ~2 increase in signal
Challenge: large dark current, large capacitance (slow), unstable gain
Solution:
Custom high-gain, low-noise, high-bandwidth amplifiers
moderately low temperature (-20 Co) suppresses dark current sufficiently
with nonimaging optical concentrator (Winston cone)
dynamically adjust bias voltage and temperature for stable gain
large-area SiPM array
Motivation
Many theories beyond the Standard Model predict T-violation and associated EDMs at current experimental precision
eEDM sensitivity of ACME II is at ~4x10-30 e•cm.
We optimize the sensitivity by maximizing the detected molecule number
A permanent electric dipole of a fundamental particle violates both T- and P-symmetry
ACME Gen III overview
Proposed sensitivity improvement
Sensitivity gain vs. interaction length
C (77% 1, 20% 3Π)
1196nm, ~10%
X (1Σ+)
Q (95% 3∆)
H (98% 3∆)
1090nm
690nm
~75%
512nm
~91%
ThO energy levels and
transitions
I
703nm
Property of Q (3∆2) state of ThO
│Ω│
Characterization of Q—C transition
Differential Stark shift of Q—C transition
C state:
Q state:
M: -2 -1 0 +1 +2
Fluorescence [a.u.]
π
50.4MHz
Quadratic Stark shift
J=1
J=2
Linear
Stark shift
0 V/cm
4 V/cm
10 V/cm
13 V/cm
20 V/cm
25 V/cm
40 V/cm
65 V/cm
Q state:
Paramagnetic, gQ ≈ gL Λ + gS Σ = 2, compared to gH =4.4x10-3 & gX <10-3 allows magnetic lensing & co-magnetometer
Long lived (measured lifetime bound >98 ms)
Linear Stark shift due to Ω-doublet (<<100kHz) , efficient electrostatic lensing
H state: for EDM measurement
X-C-H STIRAP: EDM state preparation
I state: read out via 512nm LIF detection
— Use Q state to increase molecule flux & suppress systematics
σ transition of C- branch
σ transition of C+ branch
Extracted molecule
frame dipole:
DQ=4.07D (Q state), DC=2.60D (C state)
From Zeeman shift measurement:
GQ=2.06µB, GC=1.22µB
Power saturation scan of Q—C transition: DQ—C = 1.0±.12 D
+
+
+
-
-
-
E
Trajectory simulation for molecular lens design
Molecular flux enhance for ACME II interaction length
Large electric & magnetic dipole
Strong transition dipole to C state
Demonstrate ‘double’ STIRAP between X and Q (3∆2) state of ThO
Scheme to prepare single M level in Q
Very first signal of double STIRAP between X and Q state, using M=0 sublevel
Preliminary data on 2-photon
linewidth
efficiency
Main challenges:
In a molecular beam: extended spatial and velocity distribution
For molecular lens to work effectively, need to cover Δvtran = ± 10m/s, i.e. FWHM 2-photon linewidth of 6MHz
Complex ambient E and B field environment
Need efficient STIRAP both before and after the Lens!
Compact rotational cooling stage
Minimize the distance between source and Lens entrance, to increase the spatial acceptance into Molecular Lens
Necessary to cover 15MHz FWHM Doppler distribution. Spectrally broadened by mixing 90 sidebands at 330kHz spacing (natural linewidth of C state).
Single optical path for both rotational line, switch between frequencies, E field, and polarizations
J=2
J=0
J=1
J=1
J=1
J=0
E-field OFF
E-field ON
R(2)
Q(1)
2μs
X-C-Q
STIRAP
Q-C-X
STIRAP